SECTION 01041

PROJECT COORDINATION

PART 1 - GENERAL

  - SINGLE CONTRACT RESPONSIBILITY

### Work included in these Contract Documents is to be performed under the responsibility of a single prime contract

### Contractor is responsible for coordination of all Work, whether performed by his own personnel, his subcontractors or public utilities

### Contractor shall maintain procedures necessary to keep his workmen, subcontractors and suppliers informed of required project progress so as not to unnecessarily delay completion of the Work.

END OF SECTION