SECTION 01060

REGULATORY REQUIREMENTS

  - APPLICABLE CODES

    - Contractor shall comply with the following codes and applicable codes, standards, rules and regulations of authorities having jurisdiction over the project site or the Work to be performed

      - Pikes Peak Regional Building Code

      - International Building Code (IBC), as adopted and used by the Pikes Peak Regional Building Department

      - International Building Code (IBC)

      - Uniform Building Code (UBC)

      - International Mechanical Code (IMC)

      - Uniform Mechanical Code (UMC)

      - International Plumbing Code (IPC)

      - Uniform Plumbing Code (UPC)

      - Life Safety Code (NFPA 101)

      - National Electric Code (NEC)

      - Colorado Department of Health Plumbing Code

      - Rules and Regulations Governing Excavation Work, Industrial Commission of Colorado

      - Williams-Steiger Occupational Safety and Health Act

      - United States Army Corps of Engineers

      - Manual on Uniform Traffic Control Devices

      - Colorado Department of Public Health and Environment Construction Stormwater Discharge Permit

    - Utilize the code edition in effect at time of work

  - NOTICE

    - Protection of life, health and public welfare as related to execution of the construction contract is the responsibility of the Contractor

    - Owner and Engineer will not provide observation, inspection or supervision of procedures or actions employed by the Contractor which are related to safety of life, health or public welfare which are solely the Contractor's responsibility

    - If conditions are imposed by Engineer or Owner which interfere with, or imply actions detrimental to safety, Contractor shall issue written notice and a decision for action shall be returned to the Contractor prior to affecting any unsafe procedure or condition

  - CONFLICTS

    - In case of conflict between referenced codes, the one having the more stringent requirements shall govern

    - Drawings and specifications shall govern when their requirements are more stringent than code requirements

END OF SECTION