SECTION 01710

CLEANING

PART 1 - GENERAL

  - DESCRIPTION

    - Scope

      - Contractor shall maintain premises and public properties free from accumulations of waste and debris caused by work on this project

      - At project completion, Contractor shall leave all new and existing facilities affected by the Work clean and ready for occupancy

    - Related Requirements Specified Elsewhere

      - Cleaning of certain parts of the Work described in various sections of the Specifications

    - Failure by Contractor to maintain project site and facilities in a state of cleanliness shall be adequate reason for Engineer to recommend that Owner withhold any present and future progress payments until Contractor complies with specification requirements

  - STIPULATIONS

    - Hazards Control:  As required by regulatory agencies and Contractor's written health and safety plan

    - Conduct cleaning and disposal operations in compliance with laws and safety orders of governing authorities including anti-pollution laws

PART 2 - PRODUCTS

  - CLEANING MATERIALS

    - Contractor shall use only cleaning materials recommended by manufacturer of surface to be cleaned or finish to be applied

    - Contractor shall use cleaning materials only on surfaces recommended by cleaning material manufacturer

PART 3 - EXECUTION

  - DURING CONSTRUCTION

    - Contractor shall prevent dust nuisance attributable to this work

    - Contractor shall provide trash receptacles

      - Strategically locate around site

      - 55-gallon drums, minimum

      - Promptly empty when full; do not allow to overflow.  Keep surrounding areas free from trash accumulation

    - At reasonable intervals during progress of work, Contractor shall legally dispose of waste materials, debris and rubbish off the site

      - Waste materials shall not be burned or buried on-site or disposed of into storm drains, sanitary sewers or waterways

    - Contractor shall handle materials in a controlled manner with as few handlings as possible

    - Contractor shall neatly stack construction materials, such as concrete forms, when not in use

  - FINAL CLEANING

    - Contractor shall repair, patch and touch up marred surfaces to specified finish to match adjacent surfaces

    - Contractor shall broom clean paved surfaces, rake clean other surfaces of grounds

    - Contractor shall restore site to condition equal to or better than that which existed prior to commencement of Work

END OF SECTION