SECTION 01740

WARRANTIES

PART 1 - GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section

  - SUMMARY

    - This Section includes administrative and procedural requirements for warranties required by the Contract Documents, including manufacturers standard warranties on products and special warranties

      - Refer to the General Conditions for terms of the Contractor’s period for correction of the Work

    - Related Sections

      - The following sections contain requirements that relate to this Section

        - Division 1 Section “Submittals” Specifies procedures for submitting warranties

        - Division 1 Section “Contract Closeout” specifies contract closeout procedures

        - Divisions 2 through 16 Sections for specific requirements for warranties on products and installations specified to be warranted

        - Certifications and other commitments and agreements for continuing services to Owner are specified elsewhere in the Contract Documents

    - Disclaimers and Limitations

      - Manufacturer’s disclaimers and limitations on product warranties do not relieve the Contractor of the warranty on the Work that incorporates the products

      - Manufacturer’s disclaimers and limitations on product warranties do not relieve suppliers, manufacturers, and subcontractors required to countersign special warranties with the Contractor

  - DEFINITIONS

    - Standard product warranties are preprinted written warranties published by individual manufacturers for particular products and are specifically endorsed by the manufacturer to the Owner

    - Special warranties are written warranties required by or incorporated in the Contract Documents, either to extend time limits provided by standard warranties or to provide greater rights for the Owner

  - WARRANTY REQUIREMENTS

    - Related Damages and Losses

      - When correcting failed or damaged warranted construction, Contractor shall remove and replace construction that has been damaged as a result of such failure or must be removed and replaced to provide access for correction of warranted construction

    - Reinstatement of Warranty

      - When Work covered by a warranty has failed and been corrected by replacement or rebuilding, Contractor shall reinstate the warranty by written endorsement

      - The reinstated warranty shall be equal to the original warranty with an equitable adjustment for depreciation

    - Replacement Cost

      - Upon determination that Work covered by a warranty has failed, Contractor shall replace or rebuild the Work to an acceptable condition complying with requirements of the Contract Documents

      - The Contractor is responsible for the cost of replacing or rebuilding defective Work regardless of whether the Owner has benefited from use of the Work through a portion of its anticipated useful service life

    - Owner’s Recourse

      - Expressed warranties made to the Owner are in addition to implied warranties and shall not limit the duties, obligations, rights, and remedies otherwise available under the law

      - Expressed warranty periods shall not be interpreted as limitations on the time in which the Owner can enforce such other duties, obligations, rights, or remedies

        - Rejection of warranties:  The Owner reserves the right to reject warranties and to limit selection to products with warranties not in conflict with requirements of the Contract Documents

    - Where the Contract Documents require a special warranty, or similar commitment on the Work or part of the Work, the Owner reserves the right to refuse to accept the Work, until the Contractor presents evidence that entities required to countersign such commitments are willing to do so

  - SUBMITTALS

    - Contractor shall submit written warranties to the Engineer prior to the date certified for Final Inspection

      - When a designated portion of the Work is completed and occupied or used by the Owner, by separate agreement with the Contractor during the construction period, Contractor shall submit properly executed warranties to the Engineer within 15 days of completion of that designated portion of the Work

    - When the Contract Documents require the Contractor, or the Contractor and a subcontractor, supplier or manufacturer to execute a special warranty, Contractor shall prepare a written document that contains appropriate terms and identification, ready for execution by the required parties.  Submit a draft to the Owner, through the Engineer, for approval prior to final execution

      - Refer to Divisions 2 through 16 for specific content requirements and particular requirements for submitting special warranties

    - Warranties and Bonds in Operations and Maintenance Manual

      - Provide heavy paper dividers with celluloid covered tabs for each separate warranty.  Mark the tab to identify the product or installation

      - Provide a typed description of the product or installation, including the name of the product, and the name, address, and telephone number of the Installer

      - Identify each binder on the front with the typed or printed title “WARRANTIES”

END OF SECTION